Technical Glass Products has included notes in this specification to assist you in tailoring the content to your project.  These comments will appear on your screen in blue.  To hide them and view only the specification, do the following:

Click the “Office” button and then click the word “Options” OR select the “File” and then click “Options”.   Click “Display” at the left of the dialog box.  Remove the check mark from the “Hidden Text” box.  Then click “OK.”  All blue text will then be hidden.

This document is designed for use by a qualified construction specifier. Proper modifications are required to tailor this specification to your project needs.  Optional text is placed between brackets “[ ].”  Blank underlines “__” represent areas you need to fill in with your project specific information. For assistance, call Technical Glass Products at 1-800-426-0279.

This guide specification is a supplier-specific proprietary product specification using the proprietary method of specifying applicable to project specifications and master guide specifications. This Section specifies “Pilkington Profilit™” a framed channel glass system supplied by Technical Glass Products further described in Part 2 – Products.

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

SECTION 08 43 26-CHANNEL GLASS STOREFRONTS - PILKINGTON PROFILITTM

PART 1-GENERAL

  - SUMMARY

- Sections includes:

- Translucent linear glass units, framing, glazing accessories.

  - REFERENCES

A.	See Section 01420. In addition to requirements shown or specified, comply with applicable provisions of the following for design, materials, fabrication and installation of component parts:

- AAMA/NWWDA 101/I.S.2 (AAMA 101).

  - DEFINITIONS

- Translucent Linear Glass System: Translucent, channel shaped linear cast glass and exterior perimeter frame.

- Basic system: thermally broken aluminum frame with double glazed, translucent, horizontal or vertical linear glass with 60 {41} mm {2-3/8”} {1-5/8”} deep channel flange.

  - SUBMITTALS

- General: Submit in accordance with Section 01330.

- Product Data: Submit following:

- Technical Information:  Submit latest edition of manufacturer’s product data providing product descriptions, technical data, and installation instructions.

- Shop Drawings:

- Include plans, elevations, and details of product showing component dimensions.

- [OPTIONAL] [If PE stamp is required, shop drawings must include attachment to structure detail.]

- [OPTIONAL] [Samples:

- Submit standard sample length by full panel width in size

- Manufacturer standard sample length of aluminum frame.

- Verification of selected finish]

- Warranties:  Submit manufacturer’s warranty.

- Certificates of compliance from glass and glazing manufacturers attesting that glass and glazing materials furnished for a project comply with requirements.

  - QUALITY ASSURANCE

- Source Limitations:  Obtain framing system, glazing and glazing accessories from a single source for each product and installation method indicated.

- Welder Qualifications: AWS certified within past 12 months for each type of weld required.

- Certifications:

- Certificates verifying AWS qualifications for each welder employed on Project.

- [Engineering Certifications.]

- [OPTIONAL] [Engineer Qualifications: Registered Professional Engineer licensed to practice engineering in jurisdiction where project is located, with a minimum of five years’ experience in structural engineering.]

  - DELIVERY, STORAGE, AND HANDLING

- Deliver, store, and handle materials under provisions of Section 01600 <Insert Section #>.

- Deliver materials to specified destination in manufacturer or distributor packaging, undamaged, complete with installation instructions.

- Store off ground, on a level surface, under cover, and protected from weather and construction activities in accordance with manufacturer’s recommendations.

  - WARRANTY

- Material Warranty:  Provide manufacturer’s limited 10-year warranty.

- Installation Warranty of ______ years will be supplied by the glazing contractor.

PART 2 PRODUCTS

  - MANUFACTURERS AND PRODUCTS

- Acceptable Products and Manufacturers:

- Pilkington Profilit™ channel glass system, supplied by Technical Glass Products, 8107 Bracken Place SE, Snoqualmie, Washington 98065, phone (800.426.0279), email tgp.sales@allegion.com, web www.tgpamerica.com.

- Substitutions:  No substitutions permitted.

  - PERFORMANCE REQUIREMENTS

- System Description

- Thermally Broken [Non-thermally broken] aluminum frame with double [single] glazed, translucent, linear glass with 60 [41] mm (2-3/8 [(1-5/8)] inch) deep channel flange. Vertical [Horizontal] Orientation [with Lumira™ aerogel insulation].

- Air Infiltration Requirements: ASTM E 283-04 at 0.03 kPa [(6.24 PSF)].

- Accurately determine chamber leakage; do not estimate.

- Total amount of air infiltration shall not exceed 0.0003 m3/s m2 [(0.06 cubic foot/minute square foot)] of wall area tested.

- Water Penetration Under Static Pressure: In accordance with ASTM E 331-00; air pressure 20 percent design wind load; 0.03 kPa [(6.24 PSF)] minimum, 0.0575 kPa [(20 PSF)] maximum, applied against face.

- No uncontrolled water penetration allowed.

- Condensation Resistance Factor:  In accordance with AAMA 1503-98.

- Glass: [Select from manufacturer’s table].

- Frame: [Select from manufacturer’s table].

- [Insulation: Minimum CRF=G 79.]

- Structural Requirements: AAMA/NWWDA/CSA 101/1.S.21 A440-08 and ASTM F 588 horizontal or vertical linear applications.  For applicable lengths for design wind loads using specific configurations of glass, please refer to published design load tables or contact TGP for assistance.

- Thermal Requirements:

- U-Value, Basic System with thermal break: AAMA 1503; 0.59 NFRC table) Minimum Glass Only U-Value: .21 (Standard Cast) or .19 (Low-E). Note:  These values are for K 32 and Lumira aerogel only.

- Solar Heat Gain Coefficient (NFRC 200): Maximum value .42 (standard cast) or .31 (Low-E glass).

- Seismic Requirements: AAMA 501.4

- Basic System: Passed for use with NEHRP Groups I, II and III.

- Acoustical Requirement: AAMA 1801-97

- Basic System:

  - 60 mm: STC 42; OITC 36.

- Visible Light transmission 70-75% (un-insulated, varies with coating) [47-50% with Lumira aerogel.]

- Glazing Requirements: ANSI Z97.1-2004 and CPSC Title 16 Part 1201 (16 CFR 1201, Category I and Category II.)

- Basic System with wire glass units: No free passage at 18 inch impact drops.

- Basic System with safety film: No free passage at 48 inch impact drops.

- Basic System with tempered glass units:  No free passage at 48 inch impact drops.

- Design Requirements:

Purchaser responsible for designing system [units], including anchorage to structural system and necessary modifications to meet specified requirements and maintain visual design concepts.

- Drawings: Diagrammatic and intended to establish basic dimension of units, sight lines, and profiles of units.

- Provide concealed fastening wherever possible.

- Attachment Considerations: Account for site peculiarities, building movement and expansion and contraction so there is no possibility of loosening, weakening and fracturing connections between the units and adjacent building materials and structure.

- Maximum Allowable Deflection: ¾”. (This should be verified based on design criteria. Contact TGP for more details).

- Interface with Adjacent Systems:

  - Integrate design and connections with adjacent construction.

- [OPTIONAL][Employ registered professional engineer, licensed to practice [_______] engineering in jurisdiction where Project is located, to engineer each component of ___________system.]

  - MATERIALS

Pilkington Profilit OW textures and sizes are not stocked items.  Please check with TGP for availability. Not all colors and coatings are available for all textures and sizes.  Contact TGP for details.

- Glass:  ASTM C1036, Type 1, Class 1, Quality q3, rolled glass, channel shape, cast.

- Colors:  [Standard with slight natural green cast] [OW (Low-iron) with minimal green cast].

- Surface Texture: [Standard Cast (Lightly dimpled surface)] [Wave (Standard cast texture with well-defined deep ridges)] [Macro (Netted screen surface)] [SlimLine (Thin, linear grooves)] [Clear (Unpatterned surface)].

- Coatings:

- Performance: [Low-E (iridescent) for improved u-values] [Antisol® (bronze-hued) to control solar heat gain].

- Decorative: [Amethyst (slight blue tint)] [Opal (Sandblasted and sealed)] [Colored Enameled Frit] [TGP ProColor® High Performance Color Coating].

- Profile width: [K22/41/6 – 9.13 in. (23mm)] [K25/41/6 - 10.31 in. (26mm)] [K32/41/6 - 13.03 in. (33mm)]  [K 22/60/7 - 9.13 in. (23mm)] [K25/60/7 - 10.31 in. (26mm)] [K32/60/7 - 13.03 in. (33mm)].

- Stainless Steel Wire:  ASTM A492, Type 316.

- Aluminum:  ASTM B221, alloy 6063-T5 for extrusions; ASTM B209, alloy 5005-H16 for sheets; or other alloys and temper recommended by manufacturer appropriate for specified finish.

- Vinyl:  AAMA 303 external grade unplasticized PVC.

- [Insulation:  Lumira™ aerogel insulation (formerly Nanogel®) in a clear [opal] 16 mm polycarbonate sleeve with centering clip to be furnished exclusively by Technical Glass Products. U-value based on Glass type in section 2.2.A. See manufacturer’s table of values for further information. No substitutions permitted.]

  - COMPONENTS

- Translucent Linear Glass Units:

- [Wireless Glass:  Standard glass units.]

- [Wired Glass:  Glass units with longitudinal stainless steel wire.]

- Tempered Glass certified to CPSC CFR 1201, Category 2 and ANSI Z97.1 Part 1.

- Optional heat soaking in accordance with per Bauegelliste 2002/1 part 11.4.

- No optional heat soak testing

- Safety Film:  Self-adhering film with UV inhibitor.  Meets safety glazing standards, CPSC 16 CFR 1201, Category 2 and ANSI Z97.1-2004. Part 1.  Passes intensified weathering test.

- Thickness:  4 mils minimum.

- Tensile Strength:  30,000 psi.

- Adhesive Strength after Weathering:  16 CFR 1201.4; 2,500 grams per inch.

- Surface Burning Characteristics:  Class A; ASTM E84.

- Acceptable Product and Manufacturer:

- Scotchshield™ Ultra Safety SCARL 400 Safety Film; 3M.

- Accepted Substitute in accordance with Section 01600.

- [No Substitutions.]

- Framing:

- Aluminum:  Extruded units to profiles shown or as required to suit conditions indicated; integral pressure equalized offset drainage system.

- Nominal thickness of 3 mm [(0.120 inch)] for framing members and rails, 2.3 mm [(0.090 inch)] for sheets, and 1.3 mm [(0.050 inch)] for glazing stops and similar components.

- Vinyl Frame Liner and Glass Support and Spacer:  Per ASTM D 638-03, ASTM D 635, ASTM D 2843 and ASTM D 1929. Extruded vinyl spacer engineered for snap-in application in standard [thermally broken/non-thermally broken] aluminum frame to support and space glass units.

- [Thermal Break:  Azo-Brader poured and de-bridged profile.]

- [Thermal Insulation Material]:

- [Lumira aerogel insulation in a clear [opal] 16 mm polycarbonate sleeve with centering clip].

- No substitutions.

  - ACCESSORIES

- Anchorage Devices:  Manufacturer’s standard formed or fabricated steel or aluminum assemblies or shapes, plates, bars or tubes.

- Fasteners:  Aluminum, non-magnetic stainless steel or other non-corrosive materials compatible with items being fastened.

- Provide concealed fasteners wherever possible.

- Exposed Locations:  Phillips flathead screws with finish matching item fastened.

- Concealed Locations:  Manufacturer’s recommended standard fasteners.

- Expansion Anchor Devices:  Lead-shield or toothed-steel, drilled-in, expansion bolt anchors.

- Perimeter Joint Sealant and Backer Rod:  Silicone-Glazing.

- Colors:  Standard colors as selected by Architect from manufacturer’s full range of colors.  [Custom colors as selected by Architect.]

- Primer:  If required by sealant manufacturer for applications show.

- Sealant Backing, Bond Breaker Rod and Tape:  Closed cell unless required by sealant manufacturer.

- Acceptable Glazing Products and Manufacturers:

- 1199, Dow Corning.

- 5731, Schnee Morehead.

- Silglaze SCS 2801 [SCS 1201] [SCS 1001], General Electric.

- Tremco Tremsil 600.

- Tremco Spectrem II.

- Accepted Substitute in accordance with Section 01 60 00.

- [No Substitutions.]

  - FABRICATION

- Coordination of Fabrication:  Check actual frame or door openings required in construction work by accurate field measurements before fabrication.

- Fabricate units to withstand design loads that will be applied when system is in place.

- General:  Provide each unit of framework continuous.

- Disassemble only to extent necessary for shipment and installation.

- Conceal fasteners wherever possible.

- Form gutter and weep system to prevent water infiltration.

- Separate dissimilar metals and aluminum in contact with concrete utilizing protective coating or preformed separators, which will prevent contact and corrosion.

- Aluminum Framing:  Provide members of size, shape and profile indicated, designed to provide for glazing from exterior or interior.

- Provide manufacturer’s standard thermal isolation between exterior and interior aluminum extrusions.

- Fabricate frame assemblies with mitered or coped joints.

- Maintain accurate relation of planes and angles, with hairline fit or contacting members.

- Seal horizontals and direct moisture accumulation to exterior.

- Provide spacers and other materials used internally or externally that are corrosive resistant, non-staining, non-bleeding and compatible with adjoining materials.

- Fabricate framing for expansion and contraction due to temperature changes without detriment to appearance or performance.

- Make provisions in framing for minimum edge clearance, nominal edge cover and nominal pocket width for thickness and type of glazing or infill used in accordance with recommendations of manufacturer and Technical Manual.

- Welding:  Comply with recommendations of American Welding Society (AWS).

- Use recommended electrodes and methods to avoid distortion and discoloration.

- Grind exposed welds smooth and flush with adjacent surfaces; restore mechanical finish.

  - FRAME FINISHES

- [Clear Anodized:  AA-M12C22A31, Architectural Class II, etched, medium matte, clear anodic coating, 0.010 mm [(0.4 mil)] minimum thickness.]

- Fluorocarbon Coating:  AAMA 2604 (50% Kynar)

- Primer:  Manufacturer’s standard epoxy or acrylic coating.

- Topcoat:  PVDF, Dry film thickness:

    - Coil:  0.020 mm [(0.80 mil)].

    - Extrusion:  0.025 mm [(1.0 mil)].

- [Fluorocarbon Coating:  2605 (70% Kynar)

- Standard Colors without clear coat:

    - Primer:  Manufacturer’s standard epoxy or acrylic coating.

    - Topcoat:  PVDF, Dry film thickness:

- Coil:  0.020 mm [(0.80 mil)].

- Extrusion:  0.025 mm [(1.0 mil)].

- Colors that require a clear coat

- Primer:  Manufacturer’s standard epoxy or acrylic coating.

- Topcoat:  PVDF, Dry film thickness:

- Coil:  0.020 mm [(0.80 mil)].

- Extrusion:  0.025 mm [(1.0 mil)].

- Clear Coat:  PVDF, Dry film thickness:

- Coil:  0.020 mm [(0.50 mil)].

- Extrusion:  0.010 mm [(0.40 mil)].

- Barrier coats

- Primer:  Manufacturer’s standard epoxy or acrylic coating.

- Barrier Coat:  PVDF, Dry film thickness:

- Coil:  0.020 mm [(0.80 mil)].

- Extrusion:  0.025 mm [(1.0 mil)].

- Topcoat:  PVDF, Dry film thickness:

- Coil:  0.020 mm [(0.80 mil)].

- Extrusion:  0.025 mm [(1.0 mil)].

- Clear Coat:  PVDF, Dry film thickness:

- Coil:  0.020 mm [(0.50 mil)].

- Extrusion:  0.010 mm [(0.40 mil)].]

- Color: [_____________________ by ______________] [Manufacturer’s standard colors as selected by Architect].  [Custom to match ____________________.]

- Acceptable Coatings Manufacturers:

- PPG Industries, Inc., Delaware, OH and Springdale, PA.

- Valspar Corporation, Garland, TX.

- Accepted Substitute in accordance with Section 01 60 00.

- [No Substitutions.]

PART 3 EXECUTION

3.1	EXAMINATION

- Examine supporting framing, with installer present, for compliance with the following:

- Manufacturing and installation tolerances, including those for size, squareness, offsets at corners.

- Minimum required face or edge clearances.

- Observable edge damage or face imperfections.

- Do not proceed with glazing until unsatisfactory conditions have been corrected.

3.2	INSTALLATION

- Install units in accordance with, [State [Municipality] of [_________] standards,] and approved Shop Drawings, plumb, level, square, and free from warp or twist while maintaining dimensional tolerances and alignment with surrounding construction [adjacent surfaces].

- Erect framing, vinyl spacer, and glass in accordance with manufacturer’s printed installation instructions.  Seal glass units continuously on both sides of glass between frame and glass and between linear glass units.

- Joint Sealant:  Install perimeter joint sealant and backing materials between assemblies and adjacent construction.

- Erection Tolerances:

- Limit Variations from Plumb and Level:

- 3 mm in 3000 mm [(1/8 inch in 10 feet)] vertically.

- 3 mm in 6000 mm [(1/8 inch in 20 feet)] horizontally.

- Limit Variations from Theoretical Locations:  6 mm [(1/4 inch)] for any member at any location.

- Limit Offsets in Theoretical End-To-End and Edge-To-Edge Alignment:  1.6 mm [(1/16 inch)] from flush surfaces not more than 50 mm [(2 inches)] apart or out-of-flush by more than 6 mm [(1/4 inch)].

3.3	REPAIR AND TOUCH UP

- Limited to minor repair of small scratches. Use only manufacturer’s recommended products.

- Such repairs shall match original finish for quality or material and view.

- Remove and replace glass that is broken, chipped, cracked, abraded, or damaged.

3.4	PROTECTION AND CLEANING

- Cleaning:

- Clean as recommended by manufacturer.  Do not use materials or methods, which may damage finish or surrounding construction.

- Protection:  Protect finished work.

END OF SECTION