Technical Glass Products has included notes in this specification to assist you in tailoring the content to your project.  These comments will appear on your screen in blue.  To hide them and view only the specification, do the following:

Click the “Office” button and then click the word “Options” OR select the “File” and then click “Options”.   Click “Display” at the left of the dialog box.  Remove the check mark from the “Hidden Text” box.  Then click “OK.”  All blue text will then be hidden.

This document is designed for use by a qualified construction specifier. Proper modifications are required to tailor this specification to your project needs.  Optional text is placed between brackets “[ ].”  Blank underlines “__” represent areas you need to fill in with your project specific information. For assistance, call Technical Glass Products at 1-800-426-0279.

This guide specification is a supplier-specific proprietary product specification using the proprietary method of specifying applicable to project specifications and master guide specifications. This Section specifies the “SteelBuilt Curtainwall Infinity™ System” a steel frame system supplied by Technical Glass Products further described in Part 2 – Products.

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

SECTION 08 44 23

Select one of the two titles below

[GLAZED STEEL CURTAIN WALLS]

[GLAZED STEEL CURTAIN WALLS-STEELBUILT CURTAINWALL INFINITY™ SYSTEMS]

- GENERAL

      - SUMMARY

        - Section includes conventionally glazed [stainless] steel curtain walls [including] [sloped glazing] [and] [stainless steel] [aluminum] [operable units] [doors].

Verify, add, delete or modify the section titles referenced below to match the requirements, of the project. These sections would include other nearby items specified or affected by the provision of this product.. These include concrete and masonry inserts, concealed flashing.

        - Related Sections:

          - Section 03 30 00 - Cast-in-Place Concrete:  Weld plates embedded in concrete for attachment of anchors.

          - Section 05 12 00 - Structural Steel Framing: Steel attachment members.

          - Section 05 50 00 - Metal Fabrications: Steel attachment members inserts and anchors.

          - Section 07 25 00 - Weather Barriers: Perimeter air, water and vapor seal between the work of this section and adjacent construction.

          - Section 07 90 00 - Joint Sealants: Perimeter sealant and back-up materials.

          - Section 07 62 00 - Sheet Metal Flashing and Trim: Flashing between this work and other work.

          - Section 08 11 13 - Hollow Metal Doors and Frames: Hollow Metal doors prepped for the work of this section.

          - Section 08 71 00 Door Hardware: Door hardware other than that provided by the work of this section.

          - Section 08 80 00 - Glass and Glazing.

          - Section 07 21 00 - Building Insulation.

          - Section 07 42 43 - Composite Metal Wall Panels.

          - Section 07 84 00 – Firestopping.

      - REFERENCES

Adjust lists below to suit Project. Delete standards for any materials not used, types of finish not used and if the system is used interiorly all the air and water infiltration testing and standards may be removed.

        - American Architectural Manufacturers Association (AAMA)

          - AAMA 501.1: Standard Test Method for Water Penetration of Windows, Curtain Walls, and Doors Using Dynamic Pressure.

          - AAMA 501.2: Quality Assurance and Diagnostic Water Leakage Field Check of Installed Storefronts, Curtain Walls, and Sloped Glazing Systems.

          - AAMA 501.4 (Revised 2001): Recommended Static Test Method for Evaluating Curtain Wall and Storefront Systems Subjected to Seismic and Wind Induced Interstory Drifts.

          - AAMA 501.5: Test Method for Thermal Cycling of Exterior Walls.

          - AAMA 501.6-01:  Recommended Dynamic Test Method For Determining The Seismic Drift Causing Glass Fallout From A Wall System.

          - AAMA 503-03  Voluntary Specifications For Field Testing Of Storefronts, Curtain Walls, And Sloped Glazing Systems.

          - AAMA 506: Voluntary Specifications for Hurricane Impact and Cycle Testing of Fenestration Products.

          - AAMA 1503: Voluntary Test Method for Thermal Transmittance and Condensation Resistance of Windows, Doors and Glazed Wall Sections.

          - AAMA 2603 - Voluntary Specification, Performance Requirements and Test Procedures for Pigmented Organic Coatings on Aluminum Extrusions and Panels.

          - AAMA 2604 - Voluntary Specification, Performance Requirements and Test Procedures for High Performance Organic Coatings on Aluminum Extrusions and Panels.

          - AAMA 2605 - Voluntary Specification, Performance Requirements and Test Procedures for Superior Performing Organic Coatings on Aluminum Extrusions and Panels.

        - American Society for Testing and Materials (ASTM):

          - Material Related

            - ASTM A 6 – Standard Specification for General Requirements for Rolled Structural Steel Bars, Plates, Shapes, and Sheet Piling.

            - ASTM A 36 – Standard Specification for Carbon Structural Steel.

            - ASTM A514 – Standard Specification for High-Yield-Strength, Quenched and Tempered Alloy Steel Plate, Suitable for Welding.

            - ASTM A 653 – Standard specification for Steel Sheet, Zinc-Coated (Galvanized) or Zinc-Iron Alloy-Coated (Galvannealed) by the Hop-Dip Process.

            - ASTM A 1008/A 1008M - Standard Specification for Steel, Sheet, Cold-Rolled, Carbon, Structural, High-Strength, Low Alloy, and High-Strength Low-Alloy with Improved Formability, Solution Hardened, and Bake Hardenable; 2007.

            - ASTM A 1011/A 1011M - Standard Specification for Steel, Sheet and Strip, Hot-Rolled, Carbon, Structural, High-Strength Low-Alloy and High-Strength Low-Alloy with Improved Formability, and Ultra-High Strength; 2006b.

          - Exterior Related

            - ASTM E 283: Test Method for Determining the Rate of Air Leakage through Exterior Windows, Curtain Walls, and Doors under Specified Pressure Differences across the Specimen.

            - ASTM E 330: Test Method for Structural Performance of Exterior Windows, Doors, Skylights and Curtain Walls by Uniform Static Air Pressure Difference Procedure A

            - ASTM E 331: Test Method for Water Penetration of Exterior Windows, Skylights, Doors, and Curtain Walls by Uniform Static Air Pressure Difference.

            - ASTM E 783: Test Method for Field Measurement of Air Leakage through Installed Exterior Windows and Doors.

            - ASTM E 1105: Test Method for Field Determination of Water Penetration of Installed Exterior Windows, Skylights, Doors, and Curtain Walls by Uniform or Cyclic Static Air Pressure Difference.

          - Glazing Related

            - ASTM C 1036 - Standard Specification for Flat Glass.

            - ASTM C 1048 - Standard Specification for Heat-Treated Flat Glass--Kind HS, Kind FT Coated and Uncoated Glass.

            - ASTM E 2190 - Standard Specification for Insulating Glass Unit Performance and Evaluation.

          - Hurricane Related

            - ASTM E 1886: Test Method for Performance of Exterior Windows, Curtain Walls, Doors, and Impact Protective Systems Impacted by Missile(s) and Exposed to Cyclic Pressure Differentials.

            - ASTM E 1996: Specification for Performance of Exterior Windows, Curtain Walls, Doors and Impact Protective Systems Impacted by Windborne Debris in Hurricanes.

          - Sound Related:

            - ASTM E 90: Test Method for Laboratory Measurement of Airborne Sound Transmission Loss of Building Partitions and Elements.

            - ASTM E 413: Standard Classification for Rating Sound Insulation

            - AAMA TIR-A1:  Sound Control For Fenestration Products.

        - American Welding Society (AWS)

          - AWS D1.3 - Structural Welding Code - Sheet Steel.

Delete the ANSI and CPSC standards below if glazing is specified in 08 80 00

        - American National Standards Institute (ANSI)

          - ANSI Z97.1:  Standard for Safety Glazing Materials Used in Buildings.

        - Consumer Product Safety Commission (CPSC)

          - CPSC 16 CFR 1201:  Safety Standard for Architectural Glazing Materials.

        - American Society of Civil Engineers (ASCE)

          - ASCE 7 – Minimum Design Loads for Buildings and Other Structures.

        - American Institute of Steel Construction (AISC)

          - Manual of Steel Construction, current edition.

        - American Iron and Steel Institute (AISI)

          - Building Code Requirements for Reinforced Steel, current edition.

        - GANA Glazing Manual, latest edition.

        - American Concrete Institute (ACI)

        - [IBC] [provide model code]  with jurisdictional Amendments [note amendments].

      - ADMINISTRATIVE REQUIREMENTS

        - Conduct a pre-installation conference at least one week prior to the work of this section.

        - Coordinate the work of this section with others affected, including but not limited to other exterior envelope components and door hardware.

      - SUBMITTALS

        - Submit in accordance with Section __________.

        - Product Data: Submit latest edition of manufacturer’s product data providing product descriptions, technical data and installation instructions. Including sample warranty form.

          - Show that products supplied meet or exceed the specified requirements.

SHOP DRAWING REVIEW NOTE: Joints at the head of windows or curtain walls are there to allow for thermal expansion, building structure movement, for example live load deflection and seismic movement. These may result in joint dimensions larger than 3/4 inch. When reviewing shop drawings, the subcontractors should identify and describe factors accounting for larger joint size, and show calculations for how joints larger than ¾ inch were developed.

        - Shop Drawings:

          - Include plans, elevations and details of product showing component dimensions; framed opening requirements, dimensions, tolerances, and attachment to structure and adjacent materials and assemblies.

          - Provide templates for the location of embeds and anchor locations required any adjoining work.

        - Structural Calculations:

          - Provide structural calculations sealed by a licensed professional engineer in the State in which the project is located; prepared in compliance with referenced documents and these specifications.

        - Samples for Initial Color Selection:  For steel frames with factory-applied coatings.

          - Copy of manufacturer's coating color charts showing the full range of colors available.

If glass is specified in this section and not in 08 80 00 (which is not recommended) retain the paragraph below. Also retain Materials - Glass in Part 2. If not delete the paragraph below, the glazing standards above and “Materials-Glass” article in Part 2

        - Glazing Samples: Submit three [two] samples 12x12 inch in size of glass units, showing coloration, spacer, sealant and Low-E coating used. Provide complete product literature and certification that glass meets standards specified.

          - Glazing Schedule:  Use same designations indicated on Drawings for glazed openings in preparing a schedule listing glass types and thicknesses for each size opening and location.

          - Glazing: submit per Section 08 80 00.

        - Verification Sample of selected finish on steel frame piece.

        - Installer Qualification Data:  For firms and persons specified in Quality Assurance Article to demonstrate their capabilities and experience.  Include lists of completed projects with project names and addresses, names and addresses of architects and owners, and other information specified.

        - Field Quality-control reports.

        - Maintenance Data

        - Warranties: Submit manufacturer’s standard warranty and ensure that forms have been completed in the Owner’s name and registered with the manufacturer.

      - QUALITY ASSURANCE

        - Installer Qualifications:  An experienced installer who has completed glazing similar in material, design, and extent to that indicated for this Project; whose work has resulted in glass installations with a record of successful in-service performance;

        - Where these specifications and codes differ, the more severe or restrictive requirement governs.

        - Test reports are not an acceptable substitute for calculations.

      - DELIVERY, STORAGE AND HANDLING

        - Deliver, store and handle under provisions specified by manufacturer.

          - At delivery, inspect all containers for damage.

          - Examine glass and frame units for damage.

          - List all damage to containers on the shipping company’s Bill of Lading.

          - Report damage to manufacturer immediately.

          - Store glazing materials and frame units in original packing containers.

          - Glass units in crates must be separated by non-abrasive pads such as cloth or cork.

          - Do not expose glazing material or frame units to sunlight and weather.

          - Do not store horizontally.

          - Place glass and frames upright, no less than 6 degrees from vertical.

          - Store all materials in dry, shaded conditions, off the ground.

          - Protect from construction activities, including grinding, welding, and concrete pouring activities.

          - Fully support Glass units along entire length.

          - Do not stack glass crates.

      - PROJECT CONDITIONS

        - Obtain field measurements prior to fabrication of frame units. If field measurements will not be available in a timely manner prior, coordinate planned measurements with the work of other sections.

          - Note whether field or planned dimensions were used in the creation of the shop drawings.

      - WARRANTY

Architects typically ask for warranties to begin on the date of substantial completion this however, is an issue for the manufacturer. Their standard warranty states that it begins at date of shipment.  Once the material leaves the factory the manufacturer has absolutely no control over the handling (the shipping company), storage (the glazing sub), and/or how long it takes to install the product. All this time the products finish for example is aging. Discuss with the manufacture the options for warranty start dates and associated costs.

        - Provide the manufacturer’s limited 2-year warranty dated from date of shipment for:

          - Failure to meet specific performance requirements listed above.

        - Provide manufacturer’s standard warranty against failure of glass seal on insulating glass units, including interpane dusting or misting:

          - Include provision for replacement of failed units.

        - Provide manufacturer’s standard warranty for exterior finish:

          - Include provision for replacement of units with excessive fading, chalking, or flaking beyond that of the referenced standard.

- PRODUCTS

      - SYSTEM DESCRIPTION

Configuration of profiles to be shown in the drawings.  Shapes such as I-Beams, T’s, angles, rectangles, tubes, channels are readily available with sharp corners. Custom shapes can also be constructed within manufacturing constraints.  Width of members varies from 2” to 8”, depth from 4” to 40”, with some variation of shapes or angles off 900, etc.  Lengths up to 38’-8” are standard, longer lengths are available, but require structural splices and special handling for shipping and finishing.  The Infinity system can also incorporate the rolled profiles from the TGP Steelbuilt system, and these specifications allow for that contingency.  Consult TGP for any profile questions or considerations proposed for a specific project.

        - System shall comprise of:

          - [Stainless] Steel shapes, comprised of laser cut bars that have been laser welded into the profiles, and in lengths depicted in the drawings.

          - Continuous integral gasketing mounted to the face of the framing, and continuous gasketed pressure plates, which allows no water contact with the [stainless] steel framing.  The gasketing of the system as described shall be the primary means of accomplishing the air- and water-resistant performance criteria listed herein.

            - Wet sealing of system is not permitted as the primary means to insure air- and water-penetration performance criteria are met.

          - Self-sealing screws and spacers used to retain pressure plates and glazing pads when mounted to the framing system.

          - Knock down type assembly (KD) of finished parts and pieces, requiring no fabrication in field to fit openings on site.

          - Field sealing primarily limited to gasket joints and perimeter conditions between curtain wall systems and adjacent construction.

          - System requires no end or zone dam construction.

          - Design system for concealed fasteners.

            - Exposed fasteners allowed only if approved by the Architect.

      - PERFORMANCE REQUIREMENTS

Member deflection is referenced from the IBC Section 24 General Requirements for Glass,  article 2403.3.

        - Structural Performance

          - Design and size the system to withstand structural forces placed upon it without damage or permanent set when tested in accordance with ASTM E330 using load 1.5 times the design wind loads and of 10 seconds in duration, as determined by using either the criteria established by ASCE 7.0 or wind tunnel test results (if available).

            - Positive wind load:[______lbf/sq ft.][as indicated on the drawings].

            - Negative wind Load:[______lbf/sq ft.][as indicated on the drawings].

          - Member properties:

            - Structural section properties of the laser welded profiles or shapes are calculated as “composite” assemblies.

          - Member deflection:

            - Limit deflection of all members supporting a glass edge  normal to the plane of the glass to [flexure limit of glass][1/175 of the glass edge length or 3/4 inch, which ever is less][of any framing member for spans up to and including 13’-6 inches and L/240 + 1/4 inch for spans greater than 13’-6 inches.

              - Span is defined as the distance between anchor centerlines.

              - For cantilevers, span is defined as the distance between anchor centerline and end of cantilever.

            - Member deflection:  Limit deflection of the member supporting the dead load of the glazing material, parallel to the face of the wall to less than 1/8 inch.

          - Accommodate anticipated story drift perpendicular to the plane of the glass as measured by AAMA 501.4, or as described in the structural drawings.

Coordinate the lbf/sq ft with those required in the field test at the end of the section.

        - Air infiltration: Provide systems that allow a maximum air leakage through fixed glazed openings of 0.06 cfm/sq. ft. of area when tested per ASTM E 283 at a static air differential of [1.57] [6.24] lbf/sq ft.

Coordinate the lbf/sq ft with those required in the field test at the end of the section.

        - Water Penetration

Systems with water resistance pressure differentials lower than 15 psf should not be considered

          - Water Resistance, (static):  ASTM E 331; No uncontrolled leakage at a static air pressure differential of 15 psf as defined in AAMA 501.

          - Water Resistance, (dynamic):  AAMA 501.1; No uncontrolled leakage at an air pressure differential of psf as defined in AAMA 501 at an equivalent wind speed of the design wind load not to exceed 70 mph.

Contact TGP for approximate value – can vary depending on project glass, system width, and exterior cap material) when tested according to AAMA 1503 or NFRC 100.

        - Condensation Resistance: Provide systems having condensation-resistance factor (CRF), when compared to windows with 1” insulating glass (both lites clear with Low E coating on #2 surface (Viracon VE1-2M, for example)) of not less than 51.

Contact TGP for approximate value – can vary depending on project glass, system width, and exterior cap material)  when tested per AAMA 1503 or NFRC 100.  Consult your local energy code for minimum values.

        - Thermal Conductance: Provide systems that have an average U value,  when compared to windows with 1” insulating glass (both lites clear, Low E coating on #2 surface (Viracon VE1-2M)) and aluminum cover cap of no more than 0.36 BTU/sq. ft x h x deg F for the glazing and to the center of the frame on all four sides.

        - Thermal Expansion and Contraction: provide a steel glazed curtain wall system that allows for expansion and contraction when measured per AAMA 501.5 for an 1800 degree temperature.

        - Primary Structural Building Frame Tolerances:  Design the curtain wall system to accommodate the primary structural frame tolerances of +/-1 inch from nominal location in or out, up or down, and left or right from that shown on Contract Documents, or as agreed upon with the Architect.

Consult the project structural engineer for the movements and tolerances mentioned above and below

        - Primary Structure Design Movements:  accommodate the following in the design of the system, as defined by the Structural Engineer of record for the project:

          - Manufacturing and installation tolerances for building frame materials.

          - Live load deflection of members after installation due to occupant loading of +/-3/8 inch between two adjacent floors, or based on information in the Contract Documents, whichever is less.

          - Seismic lateral and in-plane displacements.

          - Differential settlement of foundation or column foreshortening.

      - MANUFACTURER

        - SteelBuilt Curtainwall Infinity™ System as basis of design, as manufactured by Technical Glass Products, 8107 Bracken Place, Snoqualmie, WA  98065 phone (800.426.0279) e-mail tgp.sales@allegion.com. web site http://www.tgpamerica.com.

        - Substitutions:  No substitutions allowed.

      - MATERIALS - GLASS

        - Glass units as specified in Section 08 80 00.

Use the paragraph above to specify the glass in Section 08 80 00. Use the paragraph below to select glass in this section, which is not recommended. If specified here retain the submittal requirements and standards in Part One above.

        - Type _____ - Sealed Insulating Glass Units:  Vision glazing, Low-E

          - Provide glass complying with

          - Application(s):  All exterior glazing unless otherwise indicated.

          - Between-lite space filled with [air][argon].

          - Thermal Resistance (U-Value):  [____], nominal. Winter.

          - Thermal Resistance (U-Value):  [____], nominal. Summer.

          - Total Solar Heat Gain Coefficient (SHGC): [____], nominal.

          - Total Visible Light Transmittance: [____] percent, nominal.

          - Basis of Design:

            - ________[Low-E coating on] clear glass.

          - Outboard Lite:  [Annealed][Heat-strengthened][ Tempered] float glass, 1/4 inch thick, minimum.

Include the subparagraph immediately below if tempered glass is required. Delete if not.

            - Impact Safety Resistance:  ANSI Z97.1 and CPSC 16CFR1201 (Cat. I and Cat. II)

            - Low e coating:  ________on the #2 surface, no coating on #3 surface.

            - Tint:  _______ [None (clear)].

          - Inboard Lite:  [Annealed][Heat-strengthened][ Tempered]  float glass, 1/4 inch thick.

            - Tint:  _______ [None (clear)].

          - Total Thickness:  [1][___] inch.

        - Glazing Accessories: Manufacturer’s standard compression gaskets, spacers, setting blocks and other accessories necessary for a complete installation.

      - MATERIALS – STEEL

        - Steel Curtainwall Framing System complete with anchorage, flashings and glazing and frame.

Select one of the three available frame materials below, delete the other two.

          - Steel:

            - For laser welded profiles:

              - Alloy S235JR.

              - Tensile strength

                - Material thickness between 1/8 inch and 3-15/16in (3-100 mm) is 52,213 psi (360 N/mm2).

              - Minimum yield strength

                - Material less than 0.0.6299 inches (16mm) thick is 34,083 psi (235 N/mm2).

                - Material thickness between 0.06299 and 1.5748 inches (16-40 mm) is 32,633 psi (225 N/mm2).

                - Material thickness between 1.5748 and 3.9370 (40-100mm.) is 31,183 psi (215 N/mm2).

          - Stainless Steel:

            - For laser welded profiles:

              - Alloy 1.4301 (equivalent to US Series 304 stainless).

              - Tensile strength of _____ psi (500-700 N/mm2)

              - Minimum yield strength of _______ psi (225 N/mm2)

            - For rolled profiles:  Profiled stainless steel tubing. Series 304.

          - Stainless Steel:

            - For laser welded profiles

              - Alloy 1.4335 (equivalent to US Series 316 stainless).

              - Tensile strength of _____ psi (470-670 N/mm2).

              - Minimum yield strength of _______ psi (200 N/mm2).

            - For rolled profiles:  Profiled stainless steel tubing. Series 316.

          - For rolled profiles: Profiled galvanized steel tubing complying with ASTM A 653.

NOTE:  Standard caps are available in 1 ¾”, 2”, and 2 3/8” widths, in a variety of depths.  Custom caps in extruded aluminum are also possible.  :

          - Cover Caps:  [profiled stainless steel] [extruded aluminum].

          - Aluminum Pressure Plates:  Extruded aluminum per ASTM B 221 alloy and temper as provided by the manufacturer to meet the requirements of the work, with dimensions recommended by manufacturer to securely hold glazing material in place.

          - Stainless Steel Pressure plates: profiled, Series 304 mill finish stainless steel.

        - Anchor and / or splice components of ASTM A36 Carbon Steel

          - Finish to match framing.

            - In unexposed areas of curtain wall framing provide steel components with (2) coats of organic zinc-rich primer.

      - MATERIALS – DOORS [AND] [WINDOWS]

If no windows delete AND WINDOWS above and First paragraph below

        - Manufacturer’s standard [single] and [double] casement window in [steel] [stainless steel]

          - Provide manufacturer’s window hardware for complete window installation.

        - Manufacturer’s standard [single leaf] and [double leaf] door[s] in [steel] [stainless steel]

          - Furnish all hardware by the manufacturer. Select hardware from door manufacturer’s standard products.

            - Coordinate those products with the approved hardware groups as specified in Section 08 71 00.

            - Coordinate door hardware with cylinder specified in Section 08 71 00.

      - FABRICATION

        - Welded Sections:

          - Grind smooth welds on flat surfaces.

            - Provide an “invisible” weld finish after grinding.

          - Provide Welds on inside corners of less than 0.078 inch (2mm) in diameter

            - Provide continuous with a smooth finish.

          - Provide a radius less than 0.020 inch (0.5mm) at all edges or corners of all profiles.

NOTE: these steel shapes to match that of comparably sized aluminum extrusions.  They are not structural steel “sections “ and steel tolerances are much too crude for this material or the systems incorporating them.  Contact TGP for expected steel tolerances for specific profiles.

        - Fabrication Tolerances:

            - Bow (in/out from plane of wall): ______________.

            - Sway (left/right from centerline of mullion when viewed in elevation.

            - Twist:_________________.

      - FINISHES, GENERAL

- NOTE: Several different materials may be incorporated into the work, specifically carbon steel, stainless steel, and  / or aluminum.  Not all finishes can be applied to each of these materials.  Please select finishes which are appropriate to each material, and include description(s) as to where the finish is applicable (i.e. Class I Natural Anodized Finish…for exterior extruded aluminum face caps).  Please also note stainless steel finishes are described in a separate section below.

        - Comply Finish after fabrication.

        - Appearance of Finished Work:	Variations in appearance of abutting or adjacent pieces are acceptable. Noticeable variations in the same piece are not acceptable.

        - Interior Steel or Aluminum Finishes

          - Powder-Coat Finish: Polyester Super Durable powder coating which meets AAMA 2604 for chalking and fading. Apply manufacturer's standard powder coating finish system applied to frames before shipping, complying with manufacturer's recommended instructions for surface preparation including pretreatment, application, and minimum dry film thickness.

          - Color and Gloss: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

          - Acceptable Manufacturers:

            - Tiger Drylac

            - Additional manufacturers as approved by TGP

Select aluminum cover cap finish between Powder-Coated Aluminum Finish or Aluminum Finish to suit project.

        - Anodized Finishes

- Finish designations prefixed by AA comply with the system established by the Aluminum Association for designating aluminum finishes.

Retain finishes below to suit Project.  If retaining more than one, indicate location of each on Drawings or by inserts.  Revise mechanical finish if custom finish is required and availability is verified.

- Class II, Clear Anodic Finish:  AA-M12C22A31 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class II, clear coating 0.010 mm or thicker) complying with AAMA 611.

Above is standard finish with many manufacturers; below is heavy-anodized finish.  Verify availability with manufacturers selected.

- Class I, Clear Anodic Finish:  AA-M12C22A41 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class I, clear coating 0.018 mm or thicker) complying with AAMA 611.

- Class II, Color Anodic Finish:  AA-M12C22A32/A34 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class II, integrally colored or electrolytically deposited color coating 0.010 mm or thicker) complying with AAMA 611.

Delete paragraph above or below.  Verify availability with manufacturers selected.

- Class I, Color Anodic Finish:  AA-M12C22A42/A44 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class I, integrally colored or electrolytically deposited color coating 0.018 mm or thicker) complying with AAMA 611.

Retain one color below with either class of color anodic finish above.

- Color:  [Light bronze] [Medium bronze] [Dark bronze] [Black].

Options in subparagraph above are examples only and may vary in color range and availability among manufacturers.  Retain one or delete all and retain one of two options in subparagraph below.

- Color:  [Match Architect's sample] [As selected by Architect from full range of industry colors and color densities].

Paragraph below references AAMA standards for high-performance and superior performance organic coatings on extrusions and panels.  Revise if specific products are required.

- High-Performance Organic Finish (2-Coat Fluoropolymer):  AA-C12C40R1x (Chemical Finish:  cleaned with inhibited chemicals; Chemical Finish:  conversion coating; Organic Coating:  manufacturer's standard 2-coat, thermocured system consisting of specially formulated inhibitive primer and fluoropolymer color topcoat containing not less than 70 percent polyvinylidene fluoride resin by weight).  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with AAMA [2604] [2605] and with coating and resin manufacturers' written instructions.

Delete paragraph above or below; if both are required, indicate location of each system on Drawings, in schedules, or by inserts.

Paragraph below references AAMA standard for superior performance organic coating on extrusions and panels.  Revise if specific products are required.

- High-Performance Organic Finish (3-Coat Fluoropolymer):  AA-C12C40R1x (Chemical Finish:  cleaned with inhibited chemicals; Chemical Finish:  conversion coating; Organic Coating:  manufacturer's standard 3-coat, thermocured system consisting of specially formulated inhibitive primer, fluoropolymer color coat, and clear fluoropolymer topcoat, with both color coat and clear topcoat containing not less than 70 percent polyvinylidene fluoride resin by weight).  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with AAMA 2605 and with coating and resin manufacturers' written instructions.

Retain one color and gloss below with either paragraph above.

- Color and Gloss:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

      - STAINLESS STEEL FINISHES

        - Stainless Steel finishes:

          - Cover caps: Manufacturer’s standard brushed finish.

          - Frame members: Manufacturer’s standard [glass bead blast][brushed finish].

NOTE the strippable protective coving is available only for stainless steel finishes

          - Protect finishes on exposed surfaces from damage by applying a strippable, temporary protective covering before shipping.

      - FASTENER FINISHES

        - Finish Exposed fasteners, if required, to match adjacent curtain wall framing.

      - ACCESSORY MATERIALS

        - Bituminous Paint:  Cold-applied, asphalt-mastic paint complying with SSPC-Paint 12 requirements except containing no asbestos; formulated for [30-mil] [0.762-mm] thickness per coat.

        - Glazing Gaskets for interior or exterior applications:  ASTM C 864; extruded silicone or EPDM rubber.

        - At connections subject to thermal movement or other movement, separate all parts of moving surfaces with lubrication friction reducing pads.  Pads shall have minimum 1/16 inch thickness, shall sufficiently reduce friction to permit movement, shall be resistant to wear, shall be positively retained in position and shall not be subjected to heat damage from welding or cutting. Open ended slots are not acceptable.

        - Steel Shims: A 514 Steel plate:  Shims in contact with aluminum shall receive protective coatings to separate dissimilar metals.

        - HDPE Shims: Hardness Shore D - 69

        - Sealants:

          - See Section 07 90 00 - Joint Sealants.

          - Locate and identify all sealants by product name on shop drawings.

          - Coordinate with other sections of the Specifications and all sealants within the Exterior Wall System to assure compatibility with intersecting sealants.

          - Sealant back-up materials shall be jacketed, non-gassing, open cell polyolefin foam.  Sof-rod as manufactured by Nomaco, Inc., CCEVA Rod, Soft Type Rod, or equal.

        - Weep hole filters or drainage filters shall be 30 pores per inch PVC coated open cell pan polyurethane foam, compressed 30 to 50 percent.

        - Fasteners:

          - Fastener requirements below are applicable to all screws, bolts, nuts, washers, rivets and pins.

          - All fasteners unless specified otherwise: stainless steel 18-8 composition (generally types 302 and 304 - non magnetic), meeting ASTM F 593.

            - Finish exposed fasteners to match adjacent [stainless] steel or aluminum.

          - Unexposed fasteners located on the interior side of the main water barrier plane may be steel with cadmium and colored chromate plating, meeting ASTM B 696, Class #5, Type II finish 0.0005 inch.

          - All non-stainless fasteners used in a structural application must meet the minimum requirements of SAE J429 Grade 5.

            - Do not use Grade 8.2 fasteners, high strength bolts of non US origin, or high strength bolts that are zinc plated.

          - Self drilling fasteners shall be Dril-Flex as manufactured by Elco Industries, Inc. or equal (no known equal).

          - Design nuts used at expansion or moving connections to provide a positive means of preventing disengagement.

            - Provide positive locking devices washer or bolts, nylock nuts, unitorque nuts, or other locking device at these bolted connections.

            - Staking bolts, lock washers, spring lock washers, or deforming threads are not allowed.

          - Use matched material and grade for all nuts, bolts and washers at all bolted connections.

      - FABRICATION

        - Fabricate components with minimum clearances and shim spacing around perimeter of assembly, yet enabling installation and dynamic movement of perimeter seal.

        - Accurately fit and secure joints and corners.  Make joints flush, hairline, and weatherproof.

        - Prepare components to receive anchor devices.  Fabricate anchors.

        - Coat concealed metal surfaces that will be in contact with cementitious materials or dissimilar metals with bituminous paint.

        - Arrange fasteners and attachments to conceal from view.

        - Reinforce framing members for imposed loads.

        - Finishing:  Apply factory finish to all surfaces that will be exposed in completed assemblies.

        - Field glaze door, window and frame assemblies.

        - Factory prepare steel door assemblies field mounting of hardware.

        - Fabrication Dimensions:  Fabricate to dimensions per approved shop drawings.

        - Obtain reviewed Shop Drawings prior to fabrication.

- EXECUTION

      - EXAMINATION

        - Examine substrates and members to which the work of this section attaches or adjoins prior to frame installation.

        - Notify Architect of any conditions, which jeopardize the integrity of the proposed system.

        - Do not proceed until such conditions are corrected.

      - INSTALLATION

        - Follow manufacturer’s written instructions and reviewed shop drawings.

        - Attach to structure to permit sufficient adjustment to accommodate construction tolerances and other irregularities.

        - Welding to building frame or welding of anchor components to curtain wall framing is permitted only if shown on stamped and approved shop drawings. Provide alignment attachments and shims to permanently fasten system to building structure.

        - Field finish any field welding to match curtain wall framing.  Finish welds not visible in final assembly with organic zinc primer.

        - Align assembly plumb and level, free of warp or twist.  Maintain assembly dimensional tolerances, aligning with adjacent work.

        - Shims

          - Use Steel Plate shims at those locations which transfer structural loads.

            - Set the shims in a staggered pattern and fillet welded to each other and to the adjacent steel surfaces.

          - Use High Density Polyethylene (HDPE) shims at anchor locations used for adjustment.

              - Shim the full bearing area.

          - Using HDPE shims as isolators between adjacent, dis-similar metals is permissible.

        - Do not weld frame to frame joinery.

        - Provide thermal isolation where components penetrate or disrupt building insulation.

        - Install sill flashings.  Turn up ends and edges; seal to adjacent work to form watertight dam.

        - Coordinate attachment and seal of perimeter air and vapor barrier materials.

        - Install firestopping at each floor slab edge.

        - Pack fibrous insulation in shim spaces at perimeter of assembly to maintain continuity of thermal barrier.

Delete paragraph below if no operating windows are included.

        - Install operating sash.

        - Install perimeter sealant in accordance with Section 07 90 00.

        - Sloped Glazing with External Horizontal Mullions: Place sealant on the upslope side of the pressure plate cover caps; finish the surface with a slope for drainage over the cap.

        - Set continuous sill members and flashing in full sealant bed to produce a watertight installation

        - Do not install damaged frames or chipped glassing units.

      - ERECTION TOLERANCES

        - Maximum Variation from Plumb:  1/8 inch in every 10 ft non-cumulative or 1/2 inch per 100 ft, whichever is less.

        - Maximum Misalignment of Two Adjoining Members Abutting in Plane: 1/32 inch.

        - Sealant Space between Curtain Wall Mullions and Adjacent Construction:  Maximum of 3/4 inch and minimum of 1/4 inch.

      - REPAIR AND TOUCH UP

        - Limited to minor repair of small scratches. Use only manufacturer’s recommended products.

          - Such repairs shall match original finish for quality or material and view.

            - View is measured from a distance of 5 feet.

        - Remove and replace glass that is broken, chipped, cracked, abraded, or damaged.

      - FIELD QUALITY CONTROL

It is strongly encouraged that the architect require field-testing. However, testing costs money. Carefully weigh the benefit of field testing, and air and water resistant opening resistant up to the ASTM standards referenced in this specification, vs. the first cost savings to the Owner. Furthermore, select a corner unit or other bay that requires the joining of many parts for the test area(s). These areas must be noted on the drawings or described in the specification prior to bid or additional costs to the Owner may result.

        - See Section 01 40 00 for independent testing and inspection requirements.  Inspection will monitor quality of installation and glazing.

          - .Conduct tests on the first completed unit as a minimum.

AAMA 501.2 will give a good “feel” for how well the curtain wall is constructed. It does not replace the more demanding tests that follow.

        - Test installed entrances for water leakage in accordance with AAMA 501.2.

        - Air Infiltration: Test for air leakage per ASTM E 783 at a static air differential of [1.57] [6.24] lbf/sq ft.

If cyclic tests are deleted, remember to delete the last sentence in the paragraph below as well.

        - Water penetration: test for water penetration according to ASTM E 1105 at minimum [uniform] [cyclic] test pressure differential of [2.86] [3.75] [4.50][6.00] [8.00] lbf/sq ft. [Test shall include a minimum of ____ cycles east lasting a minimum of ____ minutes].

      - ADJUSTING

        - Adjust door and window function and hardware for smooth operation. Coordinate with hardware suppliers for function and use of attached hardware.

      - PROTECTION AND CLEANING

        - Protect glass from damage immediately after installation by attaching crossed streamers to framing held away from glass.  Do not apply markers to glass surface.  Remove nonpermanent labels, and clean surfaces.

        - Protect glass from contact with contaminating substances resulting from construction operations, including weld splatter.  If, despite such protection, contaminating substances do come into contact with glass, remove them immediately as recommended by glass manufacturer.

Modify paragraph below to suit Project.

        - Wash glass on both exposed surfaces in each area of Project not more than four days before date scheduled for inspections that establish date of Substantial Completion.  Wash glass as recommended by glass manufacturer.

END OF SECTION