Technical Glass Products has included notes in this specification to assist you in tailoring the content to your project.  These comments will appear on your screen in blue.  To hide them and view only the specification, do the following:

Click the “Office” button and then click the word “Options” OR select the “File” and then click “Options”.   Click “Display” at the left of the dialog box.  Remove the check mark from the “Hidden Text” box.  Then click “OK.”  All blue text will then be hidden.

This document is designed for use by a qualified construction specifier. Proper modifications are required to tailor this specification to your project needs.  Optional text is placed between brackets “[ ].”  Blank underlines  “__” represent areas you need to fill in with your project specific information. For assistance, call Technical Glass Products at 1-800-426-0279.

This Section specifies “SteelBuilt Curtainwall® SSG” a non- fire-rated steel curtainwall frame system supplied by Technical Glass Products further described in Part 2 – Products.

SECTION 08 44 23

Select one of the two titles below.

[STRUCTURAL SILCONE GLAZED STEEL CURTAIN WALLS]

[STRUCTURAL SILCONE GLAZED STEEL CURTAIN WALLS- STEELBUILT CURTAINWALL® SSG SYSTEM]

- GENERAL

      - SUMMARY

        - Section includes [(two-sided] [four sided] structurally silicone glazed thermally improved/thermally broken [stainless] steel curtain walls [including] [sloped glazing] [and] [stainless steel] [aluminum] [operable units], [doors].

Verify, add, delete or modify the section titles referenced below to match the requirements, of the project. These sections would include other nearby items specified or affected by the provision of this product. These include concrete and masonry inserts, concealed flashing.

        - Related Sections:

          - Section 03 30 00 - Cast-in-Place Concrete:  Weld plates embedded in concrete for attachment of anchors.

          - Section 05 12 00 - Structural Steel Framing: Steel attachment members.

          - Section 05 50 00 - Metal Fabrications: Steel attachment members inserts and anchors.

          - Section 07 25 00 - Weather Barriers: Perimeter air, water and vapor seal between the work of this section and adjacent construction.

          - Section 07 90 00 - Joint Sealants: Perimeter sealant and back-up materials

          - Section 07 62 00 - Sheet Metal Flashing and Trim: Flashing between this work and other work.

          - Section 08 11 13 - Hollow Metal Doors and Frames: Hollow Metal doors prepped for the work of this section.

          - Section 08 51 13 Operable Aluminum Windows

          - Section 08 71 00 Door Hardware: Door hardware other than that provided by the work of this section.

          - Section 08 80 00 - Glass and Glazing.

          - Section 07 21 00 - Building Insulation.

          - Section 07 42 43 - Composite Metal Wall Panels.

          - Section 07 84 00 – Firestopping.

      - REFERENCES

Adjust lists below to suit Project. Delete standards for any materials not used, types of finish not used and if the system is used interiorly all the air and water infiltration testing and standards may be removed.

        - American Architectural Manufacturers Association (AAMA)

          - AAMA 501.1: Standard Test Method for Water Penetration of Windows, Curtain Walls, and Doors Using Dynamic Pressure.

          - AAMA 501.2: Quality Assurance and Diagnostic Water Leakage Field Check of Installed Storefronts, Curtain Walls, and Sloped Glazing Systems.

          - AAMA 501.4 (Revised 2001): Recommended Static Test Method for Evaluating Curtain Wall and Storefront Systems Subjected to Seismic and Wind Induced Interstory Drifts.

          - AAMA 501.5: Test Method for Thermal Cycling of Exterior Walls.

          - AAMA 501.6-01:  Recommended Dynamic Test Method For Determining The Seismic Drift Causing Glass Fallout From A Wall System.

          - AAMA 503-03 Voluntary Specifications For Field Testing Of Storefronts, Curtain Walls, And Sloped Glazing Systems.

          - AAMA 506: Voluntary Specifications for Hurricane Impact and Cycle Testing of Fenestration Products

          - AAMA 1503: Voluntary Test Method for Thermal Transmittance and Condensation Resistance of Windows, Doors and Glazed Wall Sections.

          - AAMA TIR-A11-04 Maximum Allowable Deflection of Framing Systems for Building Cladding Components at Design Wind Loads.

          - AAMA 2603 - Voluntary Specification, Performance Requirements and Test Procedures for Pigmented Organic Coatings on Aluminum Extrusions and Panels.

          - AAMA 2604 - Voluntary Specification, Performance Requirements and Test Procedures for High Performance Organic Coatings on Aluminum Extrusions and Panels.

          - AAMA 2605 - Voluntary Specification, Performance Requirements and Test Procedures for Superior Performing Organic Coatings on Aluminum Extrusions and Panels.

        - American Society for Testing and Materials (ASTM):

          - Material related

            - ASTM A 6 – Standard Specification for General Requirements for Rolled Structural Steel Bars, Plates, Shapes, and Sheet Piling.

            - ASTM A 36 – Standard Specification for Carbon Structural Steel.

            - ASTM A 653 – Standard specification for Steel Sheet, Zinc-Coated (Galvanized) or Zinc-Iron Alloy-Coated (Galvannealed) by the Hot-Dip Process.

            - ASTM A 1008/A 1008M - Standard Specification for Steel, Sheet, Cold-Rolled, Carbon, Structural, High-Strength, Low Alloy, and High-Strength Low-Alloy with Improved Formability, Solution Hardened, and Bake Hardenable; 2007.

            - ASTM A 1011/A 1011M - Standard Specification for Steel, Sheet and Strip, Hot-Rolled, Carbon, Structural, High-Strength Low-Alloy and High-Strength Low-Alloy with Improved Formability, and Ultra-High Strength; 2006b.

            - ASTM C 794 Standard Test Method for Adhesion-in-Peel of Elastomeric Joint Sealants.

            - ASTM C1087 Standard Test Method for Determining Compatibility of Liquid-Applied Sealants with Accessories Used in Structural Glazing Systems.

            - ASTM C 1135 Determining Tensile Adhesion Properties of Structural Sealants.

            - ASTM C 1184 Standard Specification for Structural Silicone Sealants.

            - ASTM C 1216 Test Method for Adhesion and Cohesion of One-Part Elastomeric Solvent Release Sealants

            - ASTM C 1249 Standard Guide for Secondary Seal for Sealed Insulating Glass Units for Structural Sealant Glazing Applications

            - ASTM C 1369 Standard Specification for Secondary Edge Sealants for Structurally Glazed Insulating Glass Units

            - ASTM C 1394 Standard Guide for In-Situ Structural Silicone Glazing Evaluation

            - ASTM C 1401 Standard Guide for In-Situ Structural Sealant Glazing

          - Exterior related

            - ASTM E 283: Test Method for Determining the Rate of Air Leakage through Exterior Windows, Curtain Walls, and Doors under Specified Pressure Differences across the Specimen.

            - ASTM E 330: Test Method for Structural Performance of Exterior Windows, Doors, Skylights and Curtain Walls by Uniform Static Air Pressure Difference Procedure A

            - ASTM E 331: Test Method for Water Penetration of Exterior Windows, Skylights, Doors, and Curtain Walls by Uniform Static Air Pressure Difference.

            - ASTM E 783: Test Method for Field Measurement of Air Leakage through Installed Exterior Windows and Doors.

            - ASTM E 1105: Test Method for Field Determination of Water Penetration of Installed Exterior Windows, Skylights, Doors, and Curtain Walls by Uniform or Cyclic Static Air Pressure Difference.

          - Glazing related

            - ASTM C 1036 - Standard Specification for Flat Glass.

            - ASTM C 1048 - Standard Specification for Heat-Treated Flat Glass--Kind HS, Kind FT Coated and Uncoated Glass.

            - ASTM E 2190 - Standard Specification for Insulating Glass Unit Performance and Evaluation.

          - Hurricane related

            - ASTM E 1886: Test Method for Performance of Exterior Windows, Curtain Walls, Doors, and Impact Protective Systems Impacted by Missile(s) and Exposed to Cyclic Pressure Differentials.

            - ASTM E 1996: Specification for Performance of Exterior Windows, Curtain Walls, Doors and Impact Protective Systems Impacted by Windborne Debris in Hurricanes.

          - Sound related:

            - ASTM E 90: Test Method for Laboratory Measurement of Airborne Sound Transmission Loss of Building Partitions and Elements.

            - ASTM E 413: Standard Classification for Rating Sound Insulation.

            - AAMA TIR-A1:  Sound Control for Fenestration Products.

        - American Welding Society (AWS)

          - AWS D1.3 - Structural Welding Code - Sheet Steel.

Delete the ANSI and CPSC standards below if glazing is specified in 08 80 00

        - American National Standards Institute (ANSI):

          - ANSI Z97.1:  Standard for Safety Glazing Materials Used in Buildings.

        - Consumer Product Safety Commission (CPSC):

          - CPSC 16 CFR 1201:  Safety Standard for Architectural Glazing Materials.

        - American Society of Civil Engineers (ASCE)

          - ASCE 7 – Minimum Design Loads for Buildings and Other Structures.

        - American Institute of Steel Construction (AISC).

          - Manual of Steel Construction, current edition.

        - American Iron and Steel Institute (AISI).

          - Building Code Requirements for Reinforced Steel, current edition.

        - GANA Glazing Manual, latest edition.

        - American Concrete Institute (ACI).

        - [IBC] [Provide model code] with jurisdictional Amendments [note amendments].

      - ADMINISTRATIVE REQUIREMENTS

        - Coordinate the work of this section with others affected, including but not limited to other exterior envelope components and door hardware.

      - SUBMITTALS

        - Submit in accordance with Section <Insert Section #>.

        - Product Data:

          - Technical Information:  Submit latest edition of manufacturer’s product data providing product descriptions, technical data and installation instructions.

SHOP DRAWING NOTE: Joints at head of windows or curtain walls to allow for thermal expansion, building structure movement (including live load deflection, seismic movement, etc.), which may result in joint dimensions larger than 3/4 inch.  In shop drawings the subcontractors should identify and describe factors accounting for larger joint size, show calculations for how joints larger than ¾ inch were developed.

        - Shop Drawings:

          - Include plans, elevations and details of product showing component dimensions; framed opening requirements, dimensions, tolerances, and attachment to structure

          - Provide templates for the location of embeds and anchor locations required any adjoining work

          - Include details showing structural silicone bond line dimensions on surfaces and the finish applied to those surfaces.

        - Structural Calculations:

Structural calculations recommended for exterior applications.

          - Provide structural calculations sealed by a licensed professional engineer in the State in which the project is located; prepared in compliance with referenced documents and these specifications.

          - Include structural silicone sealant bond line calculations for both typical and corner wind load conditions (if different).

          - Test reports are not an acceptable substitute for calculations for any of the required performance

        - Samples for Initial Color Selection:

          - For steel frames with factory-applied coatings.

            - Copy of manufacturer's coating color charts showing the full range of colors available.

            - Sealant manufacturer’s color charts for structural silicone sealant.

            - Sealant manufacturer’s color charts for weather sealants.

If glass is specified in this section and not in 08 80 00 (which is not recommended) retain the paragraph below. Also retain Materials - Glass in Part 2. If not delete the paragraph below, the glazing standards above and “Materials-Glass” article

        - Glazing Schedule: Use same designations indicated on drawings for glazed openings in preparing a schedule listing glass types and thicknesses for each size opening and location.

        - Structural Silicone Sealant Submittals:

          - Quality-Control Program:  Develop a plan specifically for the Project according to recommendations in ASTM C 1401.  Include periodic quality-control reports.

          - Submit the following documentation from the Sealant Manufacturer:

            - Provide the sealant manufacturer’s review of they have   the shop drawings, the product selected is suitable for the application, and the details comply with all technical requirements of the manufacturer.

            - Provide sealant manufacturer’s test reports confirming adhesion and compatibility of structural silicone sealant to all materials in contact with structural silicone sealant.

            - Provide a structural sealant quality control procedure that has been reviewed and approved by the sealant manufacturer.

            - If a two-part, factory-applied structural silicone is employed, the quality control procedure shall include, but not limited to, such items as snap time tests, butterfly tests, adhesion tests, and all fabrication and erection procedures.  The quality control procedure shall include a full negative design pressure test at the rate of at least 1 out of 50 units. Tested units can be used on the project if they successfully pass the test.  Failure, defined as loss of adhesion to substrates or loss cohesive adhesion in the material before design load is reach, shall require testing of one (1) assembled unit immediately before and after the failed units.  Testing frequency shall increase at a rate not to exceed 1 in 10 units.

            - Note any special requirements for use of two part sealants on PVDF paints, such as any necessary surface preparation (i.e. Kynar® surfaces rubbed with Scotch-Brite™ pads), use of primers, etc.

            - Submit the sealant manufacturer’s sample warranty.

          - At completion of the project, submit log of sealant and primer materials used, include date applied to curtain wall, batch number, expiration date, and detailed location of where used on the project. Logs shall be kept for shop or field application of structural silicone sealant.

          - Submit detailed replacement glazing instructions as part of Maintenance Data.

          - Submit the glass manufacturer’s written statement they have reviewed the shop drawings, and that in all respects the glass is suitable for the structural silicone glazing application. Note any special conditions required of the glass (i.e., larger insulating glass spacers, etc).  Submit the glass manufacturer’s sample warranty.

          - Submit paint quality control test reports for AAMA [2603] [2605] [2605] for aluminum finishes to receive structural silicone for each production paint run.

        - Maintenance Data:  Include ASTM C 1401 recommendations for post installation-phase quality-control program.

        - Warranties: Submit manufacturer’s warranty.

      - QUALITY ASSURANCE

        - Engineers Qualification: Licensed professional engineer in the State in which the project is located

        - Installer Qualifications:  An experienced installer who has completed glazing similar in material, design, and extent to that indicated for this Project; whose work has resulted in glass installations with a record of successful in-service performance.

        - Source Limitations for Glazing Accessories:  Obtain glazing accessories from one source for each product and installation method indicated.

        - Where these specifications and codes differ, the more severe or restrictive requirement governs.

      - Delivery, Storage, and Handling

        - Deliver, store and handle under provisions specified by manufacturer.

          - At delivery, inspect all containers for damage.

          - Examine glass and frame units for damage.

          - List all damage to containers on the shipping company’s Bill of Lading.

          - Report damage to manufacturer immediately.

          - Store glazing materials and frame units in original packing containers.

          - Do not expose glazing material or frame units to sunlight and weather.

          - Do not store horizontally.

          - Place glass and frames upright, no less than 6 degrees from vertical.

          - Store all materials in dry shaded conditions, off the ground.

          - Protect from construction activities, including grinding, welding, and concrete pouring activities.

          - Fully support Glass units along entire length.

          - Non-abrasive pads such as cloth or cork must separate Glass units in crates.

          - Do not stack glass crates.

      - PROJECT CONDITIONS

        - Obtain field measurements prior to fabrication of frame units. If field measurements will not be available in a timely manner prior, coordinate planned measurements with the work of other sections.

          - Note whether field or planned dimensions were used in the creation of the shop drawings.

Field dimensions may be required for replacement or retrofit windows, but are not recommended for new construction.  If field dimensions are required for new construction, additional time in the schedule may be required fabrication.

        - Coordinate the work of this section with others effected including but not limited to:  other interior and /or exterior envelope components and door hardware beyond that provided by this section.

      - WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this Article are not less than remedies available to Owner under prevailing local laws.  Coordinate with Division 1 Section "Product Requirements."

        - Provide the SteelBuilt Curtainwall® SSG standard two-year manufacturer warranty.

- PRODUCTS

      - Manufacturers (acceptable manufacturers/products)

        - Frame System:  SteelBuilt Curtainwall® SSG System steel frame system as supplied by Technical Glass Products 8107 Bracken Place SE, Snoqualmie, WA  98065 phone (800.426.0279) e-mail tgp.sales@allegion.com  web site www.tgpamerica.com.

        - Substitutions:  Substitutions not permitted.

      - PERFORMANCE REQUIREMENTS

        - System Description:

          - [Continuously formed [Stainless] Steel shapes, cold rolled and laser welded to form profiles and in lengths depicted in the drawings.

          - Structural silicone sealants, gaskets, spacers to structurally adhere the glass or other infill materials to the curtain wall framing in two-and four-sided configurations.

          - Knock down type assembly (KD) of finished parts and pieces, requiring no fabrication in field to fit openings on site.

          - Field sealing, other than structural silicone application, primarily limited to gasket joints and perimeter conditions between curtain wall systems and adjacent construction.

          - Field application of structural silicone is permitted, pending approval of submittals made per Section.1.4.G above.

          - System required no end or zone dam construction.

          - Design the system for concealed fasteners.

          - Depending on the selected profiles, exposed fasteners may be required and subject to review by the Architect.

        - Structural Performance

          - Design and size the system to withstand structural forces placed upon it without damage or permanent set when tested in accordance with ASTM E330 using load 1.5 times the design wind loads and of 10 seconds in duration, as determined by using either the criteria established by ASCE 7.0 or wind tunnel test results (if available).

            - Positive wind load: [______lbf/sq ft.][as indicated on the drawings].

            - Negative wind Load: [______lbf/sq ft.][as indicated on the drawings].

          - Member deflection:

            - Limit deflection of all members supporting a glass edge normal to the plane of the glass to [flexure limit of glass][1/175 of the glass edge length or 3/4 inch, whichever is less][of any framing member for spans up to and including 13’-6 inches and L/240 + 1/4 inch for spans greater than 13’-6 inches.

              - Span is defined as the distance between anchor center lines.

              - For cantilevers, span is defined as the distance between anchor center line and end of cantilever.

            - Member deflection:  Limit deflection of the member supporting the dead load of the glazing material, parallel to the face of the wall to less than 1/8 inch.

          - Accommodate anticipated horizontal, vertical and lateral interstory drift perpendicular to the plane of the glass as measured by AAMA 501.4, or as described in the structural drawings.

Coordinate the lbf/sq ft with those required in the field test at the end of the section.

        - Air infiltration: Provide systems that allow a maximum air leakage through fixed glazed openings of 0.06 cfm/sq. ft. of area when tested per ASTM E 283 at a static air differential of [1.57] [6.24] lbf/sq ft.

Coordinate the lbf/sq ft with those required in the field test at the end of the section.

Systems with water resistance pressure differentials lower than 15 psf should not be considered

        - Water Resistance, (static):  ASTM E 331; No uncontrolled leakage at a static air pressure differential of 15 psf as defined in AAMA 501.

        - Water Resistance, (dynamic):  AAMA 501.1; No uncontrolled leakage at an air pressure differential of __psf as defined in AAMA 501 at an equivalent wind speed of the design wind load not to exceed 70 mph.

Contact TGP for approximate value – can vary depending on project glass, system width, and exterior cap material) when tested according to AAMA 1503 or NFRC 100.

        - Condensation Resistance: Provide systems having condensation-resistance factor (CRF), when compared to windows with 1” insulating glass (both lites clear with Low E coating on #2 surface (Viracon VE1-2M, for example) of not less than:

          - CRF of 47 utilizing the 1-¾ inch (45 mm) system width.

          - CRF of 46 utilizing the 2 3/8 inch (60 mm) system width.

Contact TGP for approximate value – can vary depending on project glass, system width, and exterior cap material) when tested per AAMA 1503 or NFRC 100.  Consult your local energy code for minimum values.

        - Thermal Conductance: Provide systems that have an average U value, when compared to windows with 1” insulating glass (both lites clear, Low E coating on #2 surface (Viracon VE1-2M)) and aluminum cover cap of no more than 0.36 BTU/sq. ft x h x deg F for the glazing and to the center of the frame on all four sides.

        - Thermal Expansion and Contraction: Provide a steel glazed curtain wall system that allows for expansion and contraction when measured per AAMA 501.5 for an 180˚ degree temperature.

        - Primary Structural Building Frame Tolerances:  Design the curtain wall system to accommodate the primary structural frame tolerances of +/-1 inch from nominal location in or out, up or down, and left or right from that shown on Contract Documents, or as agreed upon with the Architect.

Consult the project structural engineer for the movements and tolerances mentioned above and below

        - Primary Structure Design Movements:  Accommodate the following in the design of the system, as defined by the Structural Engineer of record for the project:

          - Manufacturing and installation tolerances for building frame materials.

          - Live load deflection of members after installation due to occupant loading of +/-3/8 inch between two adjacent floors, or based on information in the Contract Documents, whichever is less.

          - Seismic lateral and in-plane displacements.

          - Differential settlement of foundation or column foreshortening.

        - Minimum sealant bond line dimensions shall be determined by calculation as recommended by the sealant manufacturer.  Allowable tension stress or shear stress in structural silicone sealant used in determining minimum bond line dimensions shall not exceed 20 psi at design wind load pressures and loads.  When used to carry the dead load of the material it is supporting, the tension or shear stress in the structural silicone shall not exceed 1 psi.

        - Structural Silicone joints shall be at least ¼” in thickness (perpendicular to the bond line dimension).

      - MATERIALS-GLASS

        - Glass units as specified in Section 08 80 00.

Use the paragraph above to specify the glass in Section 08 80 00. Use the paragraph below to select glass in this section, which is not recommended. If specified here retain the submittal requirements and standards in Part One above.

        - Type _____ - Sealed Insulating Glass Units:  Vision glazing, low-E.

          - Provide glass complying with.

          - Application(s):  All exterior glazing unless otherwise indicated.

          - Between-lite space filled with [air] [argon].

          - Thermal Resistance (U-Value):  [____], nominal. Winter.

          - Thermal Resistance (U-Value):  [____], nominal. Summer.

          - Total Solar Heat Gain Coefficient (SHGC): [____], nominal.

          - Total Visible Light Transmittance: [____] percent, nominal.

          - Basis of Design:

            - ________ [Low-E coating on] clear glass.

          - Outboard Lite:  [Annealed] [Heat-strengthened] [Tempered] float glass, 1/4 inch thick, minimum.

Include the subparagraph immediately below if tempered glass is required. Delete if not.

            - Impact Safety Resistance:  ANSI Z97.1 and CPSC 16CFR1201 (Cat. I and Cat. II).

            - Low E coating:  ________on the #2 surface, no coating on #3 surface.

            - Tint:  _______ [None (clear)].

          - Inboard Lite:  [Annealed] [Heat-strengthened] [Tempered] float glass, 1/4 inch thick.

            - Tint:  _______ [None (clear)].

          - Total Thickness:  [1] [___] inch.

        - Glazing Accessories: Manufacturer’s standard compression gaskets, spacers, setting blocks and other accessories necessary for a complete installation.

      - MATERIALS-STEEL FRAMING

        - Steel Curtainwall Framing System complete with anchorage, flashings and glazing and frame.

Select one of the three available frame materials below, delete the other two.

          - Steel Frame:  Profiled galvanized steel tubing complying with ASTM A 653:

            - 1 ¾ in (45 mm) wide x 1 13/16 (47mm),  x 2 11/16 inch (69mm), x 3 5/8 inch (91. mm),  x 4 ½” (114mm), x 5 3/8 inch (136.5mm), or x 5 3/16” (132mm).

            - b. 2 3/8 inch (60 mm) wide x 1 13/16” (47mm) x 3 5/8 inch (91. mm), x 5 3/8 inch (136.5mm), and 7 1/8inch (181.5mm).

          - Stainless Steel Frame:  Profiled stainless steel tubing. Series 304.

NOTE:  dimensions below do not include glazing and exterior pressure plates and covers:

            - 1-3/4 inch (45 mm) wide x 2 11/16 inch (69mm), x 3 5/8 inch (91. mm), and x 5 3/8 inch (136.5mm).

            - 2 3/8 inch (60 mm) wide x 3 5/8 inch (91. mm), x 5 3/8 inch (136.5mm), and 7 1/8inch (181.5mm).

NOTE:  Items 4 and 5 should be deleted for 4-sided structural silicone applications, they should remain for 2-sided applications. Standard caps are available in 1 ¾”, 2”, and 2 3/8” widths, in a variety of depths.  Custom caps in extruded aluminum are also possible.

          - Cover Caps:  [profiled stainless steel] [extruded aluminum].

          - Aluminum Pressure Plates, Cassettes or Toggles:  Extruded aluminum per ASTM B 221 alloy and temper as provided by the manufacturer to meet the requirements of the work, with dimensions recommended by manufacturer to securely hold glazing material in place.

          - Stainless Steel Pressure plates: profiled, Series 304 mill finish stainless steel.

        - Anchor and / or splice components of ASTM A36 Carbon Steel

          - Finish to match framing

            - In unexposed areas of curtain wall framing provide steel components with (2) coats of organic zinc-rich primer.

      - MATERIALS – DOORS [AND] [WINDOWS

If no windows delete AND WINDOWS above and first paragraph below.

        - See Section 08 51 13 Operable Windows

        - Manufacturer’s standard [single] and [double] casement window in [steel] [stainless steel]

          - Provide manufacturer’s window hardware for complete window installation.

        - Manufacturer’s standard [single leaf] and [double leaf] door[s] in [steel] [stainless steel]

          - Furnish all hardware by the manufacturer. Select hardware from door manufacturer’s standard products.

            - Coordinate those products with the approved hardware groups as specified in Section 08 71 00.

            - Coordinate door hardware with cylinder specified in Section 08 71 00.

      - FABRICATION

        - General:

          - Fabricate components with minimum clearances and shim spacing around perimeter of assembly, yet enabling installation and dynamic movement of perimeter seal.

          - Accurately fit and secure joints and corners.  Make joints flush and weatherproof.

          - Prepare components to receive anchor devices.  Fabricate anchors.

          - Coat concealed metal surfaces that will be in contact with cementitious materials or dissimilar metals with bituminous paint.

          - Arrange fasteners and attachments to conceal from view.

          - Reinforce framing members for imposed loads.

          - Finishing:  Apply factory finish to all surfaces that will be exposed in completed assemblies.

          - Field glaze door, window and frame assemblies.

          - Factory prepare steel door assemblies field mounting of hardware.

          - Fabrication Dimensions:  Fabricate to field verified dimensions.

          - Obtain reviewed Shop Drawings prior to fabrication.

      - FINISHES, GENERAL

- NOTE: Several different materials may be incorporated into the work, specifically carbon steel, stainless steel, and  / or aluminum.  Not all finishes can be applied to each of these materials.  Please select finishes which are appropriate to each material, and include description(s) as to where the finish is applicable (i.e. Class I Natural Anodized Finish…for exterior extruded aluminum face caps).  Please also note stainless steel finishes are described in a separate section below.

        - Comply Finish after fabrication.

        - Appearance of Finished Work:	Variations in appearance of abutting or adjacent pieces are acceptable. Noticeable variations in the same piece are not acceptable.

        - Interior Steel or Aluminum Finishes

          - Powder-Coat Finish: Polyester Super Durable powder coating which meets AAMA 2604 for chalking and fading. Apply manufacturer's standard powder coating finish system applied to frames before shipping, complying with manufacturer's recommended instructions for surface preparation including pretreatment, application, and minimum dry film thickness.

          - Color and Gloss: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

          - Acceptable Manufacturers:

            - Tiger Drylac

            - Additional manufacturers as approved by TGP

Select aluminum cover cap finish between Powder-Coated Aluminum Finish or Aluminum Finish to suit project.

        - Anodized Finishes

- Finish designations prefixed by AA comply with the system established by the Aluminum Association for designating aluminum finishes.

Retain finishes below to suit Project.  If retaining more than one, indicate location of each on Drawings or by inserts.  Revise mechanical finish if custom finish is required and availability is verified.

- Class II, Clear Anodic Finish:  AA-M12C22A31 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class II, clear coating 0.010 mm or thicker) complying with AAMA 611.

Above is standard finish with many manufacturers; below is heavy-anodized finish.  Verify availability with manufacturers selected.

- Class I, Clear Anodic Finish:  AA-M12C22A41 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class I, clear coating 0.018 mm or thicker) complying with AAMA 611.

- Class II, Color Anodic Finish:  AA-M12C22A32/A34 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class II, integrally colored or electrolytically deposited color coating 0.010 mm or thicker) complying with AAMA 611.

Delete paragraph above or below.  Verify availability with manufacturers selected.

- Class I, Color Anodic Finish:  AA-M12C22A42/A44 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class I, integrally colored or electrolytically deposited color coating 0.018 mm or thicker) complying with AAMA 611.

Retain one color below with either class of color anodic finish above.

- Color:  [Light bronze] [Medium bronze] [Dark bronze] [Black].

Options in subparagraph above are examples only and may vary in color range and availability among manufacturers.  Retain one or delete all and retain one of two options in subparagraph below.

- Color:  [Match Architect's sample] [As selected by Architect from full range of industry colors and color densities].

Paragraph below references AAMA standards for high-performance and superior performance organic coatings on extrusions and panels.  Revise if specific products are required.

        - PVDF Finishes on Aluminum

- High-Performance Organic Finish (2-Coat Fluoropolymer):  AA-C12C40R1x (Chemical Finish:  cleaned with inhibited chemicals; Chemical Finish:  conversion coating; Organic Coating:  manufacturer's standard 2-coat, thermocured system consisting of specially formulated inhibitive primer and fluoropolymer color topcoat containing not less than 70 percent polyvinylidene fluoride resin by weight).  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with AAMA [2604] [2605] and with coating and resin manufacturers' written instructions.

Delete paragraph above or below; if both are required, indicate location of each system on Drawings, in schedules, or by inserts.

Paragraph below references AAMA standard for superior performance organic coating on extrusions and panels.  Revise if specific products are required.

- High-Performance Organic Finish (3-Coat Fluoropolymer):  AA-C12C40R1x (Chemical Finish:  cleaned with inhibited chemicals; Chemical Finish:  conversion coating; Organic Coating:  manufacturer's standard 3-coat, thermocured system consisting of specially formulated inhibitive primer, fluoropolymer color coat, and clear fluoropolymer topcoat, with both color coat and clear topcoat containing not less than 70 percent polyvinylidene fluoride resin by weight).  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with AAMA 2605 and with coating and resin manufacturers' written instructions.

Retain one color and gloss below with either paragraph above.

- Color and Gloss:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

      - STAINLESS STEEL FINISHES

        - Stainless Steel finishes:

- Cover caps: Manufacturer’s standard brushed finish.

- Frame members: Manufacturer’s standard [glass bead blast][brushed finish].

NOTE the strippable protective coving is available only for stainless steel finishes

- Protect finishes on exposed surfaces from damage by applying a strippable, temporary protective covering before shipping.

      - FASTENER FINISHES

        - Finish Exposed fasteners, if required, to match adjacent curtain wall framing.

      - ACCESSORY MATERIALS

        - Bituminous Paint:  Cold-applied, asphalt-mastic paint complying with SSPC-Paint 12 requirements except containing no asbestos; formulated for [30-mil] [0.762-mm] thickness per coat.

        - Glazing Gaskets for interior or exterior applications:  ASTM C 864; extruded silicone or EPDM rubber.  If in contact with structural silicone sealants, gaskets shall be shown to be compatible to the structural silicone sealant by testing by the sealant manufacturer.

        - At connections subject to thermal movement or other movement, separate all parts of moving surfaces with lubrication friction reducing pads.  Pads shall have minimum 1/16-inch thickness, shall sufficiently reduce friction to permit movement, shall be resistant to wear, shall be positively retained in position and shall not be subjected to heat damage from welding or cutting. Open-ended slots are not acceptable.

        - Shims, which transfer structural loads, shall be steel plates, set in a staggered pattern and fillet welded to each other and to the adjacent steel surfaces.  Shims in contact with aluminum shall receive protective coatings to separate dissimilar metals.

        - HDPE Shims: Hardness Shore D - 69

        - Sealants:

          - See Section 07 90 00 - Joint Sealants.

          - Locate and identify all sealants by product name on shop drawings.

          - Coordinate with other sections of the Specifications and all sealants within the Exterior Wall System to assure compatibility with intersecting sealants.

          - Sealant back-up materials shall be jacketed, non-gassing, open cell polyolefin foam.  Sof-rod as manufactured by Nomaco, Inc., CCEVA Rod, Soft Type Rod, or equal.

          - Structural silicone sealant use shall be in agreement with submitted written sealant manufacturer recommendations.

          - Suggested Manufacturers:

            - Dow Corning - 995, and 983 (DC 983 shall not be acceptable for use with any painted substrate without the use of Dow Corning Primer C) for shop glazing, 795 for re-glazing in field.

            - Momentive (formerly General Electric) – Ultra Glaze SSG 4400, Ultra Glaze 4000 for shop glazing, Silpruf SCS2000, SSG4000 for re-glazing in field

            - Tremco – Proglaze, Spectrum 2.

            - Pecora 895NST

          - Color:  ________

        - Weep hole filters or drainage filters shall be 30 pores per inch PVC coated open cell pan polyurethane foam, compressed 30 to 50 percent.

        - Fasteners:

          - Fastener requirements listed herein are applicable to screws, bolts, nuts, washers, rivets and pins.

          - All fasteners unless specified otherwise shall be stainless steel with basic 18-8 composition (generally types 302 and 304 - nonmagnetic), meeting ASTM F 593.

          - Finish exposed fasteners to match adjacent frame members.

          - Unexposed fasteners located on the interior side of the main water barrier plane may be steel with cadmium and colored chromate plated, meeting ASTM B 696, Class #5, Type II finish 0.0005 inch.

          - All non-stainless fasteners being used in a structural application must meet the minimum requirements of SAE J429 Grade 5. Grade 8.2 fasteners, high strength bolts of non-US origin, or high strength bolts that are zinc plated shall not be used.

          - Self-drilling fasteners shall be Dril-Flex as manufactured by Elco Industries, Inc. or equal (no known equal).

          - Nuts used at expansion or moving connections shall be designed to provide a positive means of preventing disengagement.  Staking of bolts, use of lock washers, or threads being deformed is not acceptable.  Provide positive locking devices washer or bolts, nylock nuts, unitorque nuts, or other locking device at these bolted connections, spring lock washers will not be accepted.

          - Powder actuated fasteners are not acceptable.

          - All bolted connections shall use matched material and grade for nuts, bolts and washers.

- EXECUTION

      - Examination

        - Site Verification of Conditions: Verify substrate conditions (which have been previously installed under other sections) are acceptable for product installation in accordance with manufacturer’s instructions. Verify openings are sized to receive curtain wall system and sill plate is level in accordance with manufacturer’s acceptable tolerances.

        - Notify Architect of any conditions which jeopardize the integrity of the proposed system.

        - Do not proceed until such conditions are corrected.

      - INSTALLATION

        - General: Follow manufacturer’s written instructions and reviewed shop drawings.

          - Install curtain wall systems plumb, level, and true to line, without warp or rack of frames with manufacturer’s prescribed tolerances and installation instructions.

          - Field finish any field welding to match curtain wall framing.  Finish welds not visible in final assembly with organic zinc primer.

          - Do not weld frame-to-frame joinery.

          - Install thermal insulation where applicable.

          - Install firestopping at each floor slab edge.

          - Do not install damaged frames or chipped glassing units.

          - Install perimeter sealant in accordance with Section 07 90 00.

        - Coordinate attachment and seal of perimeter air and vapor barrier materials.

Delete paragraph below if no operating windows are included.

        - Install operating sash as applicable.

        - Install structural silicone sealants in accordance with Section 07 90 00.  Structural silicone sealant materials specified should be used in strict accordance with the manufacturers printed instructions, which have been submitted and approved prior to the start of application. Structural silicone sealant materials shall be applied by mechanics especially trained and / or experienced with these types of installations and materials.  All surfaces to be cleaned and / or primer applied per the sealant manufacturer’s recommendations.  Mask exposed adjacent surfaces when required.  Tool sealant to insure full contact at bond lines on both sides of the structural silicone cavity, and insure the cavity is completely filled, with the exposed finished surfaces tooled smooth.

      - ERECTION TOLERANCES

        - Maximum Variation from Plumb:  1/8 inch in every 10 ft non-cumulative or 1/2 inch per 100 ft, whichever is less.

        - Maximum Misalignment of Two Adjoining Members Abutting in Plane: 1/32 inch.

        - Sealant Space between Curtain Wall Mullions and Adjacent Construction:  Maximum of 3/4 inch and minimum of 1/4 inch.

      - PROTECTION AND CLEANING

        - Protect glass and framing from damage immediately after installation by attaching crossed streamers to framing held away from glass.  Do not apply markers to glass surface.  Remove non-permanent labels, and clean surfaces.

          - Do not clean with astringent cleaners. Use a clean “grit free” cloth and a small amount of mild soap and water or mild detergent.

          - Do not use any of the following:

            - Steam jets

            - Abrasives

            - Strong acidic or alkaline detergents, or surface-reactive agents

            - Detergents not recommended in writing by the manufacturer

            - Do not use any detergent above 77 degrees F

            - Organic solvents including but not limited to those containing ester, ketones, alcohols, aromatic compounds, glycol ether, or halogenated hydrocarbons.

            - Metal or hard parts of cleaning equipment must not touch the glass surface

        - Protect glass and framing from contact with contaminating substances resulting from construction operations, including weld splatter.  If, despite such protection, contaminating substances do come into contact with glass, remove them immediately as recommended by glass manufacturer.

Modify paragraph below to suit Project.

        - Wash glass as recommended by glass manufacturer.

END OF SECTION